Hearing for Cordio – April 16, 2008 opened at 8:00pm

Continued from 3-19-08 and 4-2-08. NOI for Garry Cordio on 82 Deer Bay Road (Ross Associates.) DEP File # 93-299.

Al Futterman is an abutter and appeared at the hearing.  Neil Gorman represented the owner and the Engineering Firm, Ross Associates.

The Commission conducted a site visit on April 5, 2008.

System to be located 100 ft from the compensating reservoir which will require a variance from the BOH for being closer than 200 ft.

Have proposed stone boulders as a wall to keep the system in place.

There will be deed restrictions to keep the house as a 2 bedroom dwelling. – as part of the BOH requirements.

Will have a swale between the system  & house to catch the surface water from the system and move it away from the house to prevent it from entering the basement.

40 ml poly barrier will be inserted between the swale and the system. Reaches down into the existing grade by a foot and extends up to the top of the system.

Proposed new well and new sewage disposal system – Presby style.

Tanks will be located within the 100 ft buffer zone.  There will be some grading over the tanks.

Proposed siltation barrier around the extent of the work on the reservoir side.

A traditional system would require larger footprint and sit higher on the site.

Requires two vents on the system to increase air flow  - one at distribution box and one at the end of the leaching run.

The lot is actually 4 lots with a road between them.  May require some easement for the water line to cross the road to get to the location of the well.

Earliest construction would be late summer or early fall.

Al Futterman had concerns of access to the property across his abutting property with large equipment.  This occurred during the testing of the property and left some damage and siltation on the property.  Will add a condition that the entrance of the property be marked to avoid crossing abutter’s land.

Discussion about removal of a “shed” from its location in the BVW of the reservoir.  Need to prove that it was constructed prior to the wetlands protection act – roughly 1987, or move it out of the wetlands.   Include this in the OOC and specify that it must be resolved in order to remove the OOC from the deed. Also specify that they cannot fill in the area vacated by the shed with sand or any other material other than wetland soil.

Cathy will write the OOC.

Hearing closed at 8:48pm